|  | Huawei eSight For SCOM Plugin 1.1.200 |  |  |  |
| --- | --- | --- | --- | --- |
|  | User Guide |  |  |  |
|  | Issue | 02 |  |  |
|  | Date | 2019-07-25 |  |  |
|  | HUAWEI TECHNOLOGIES CO., LTD. |  |  |  |

Copyright © Huawei Technologies Co., Ltd. 2019. All rights reserved. No part of this document may be reproduced or transmitted in any form or by any means without prior written consent of Huawei Technologies Co., Ltd. Trademarks and Permissions and other Huawei trademarks are trademarks of Huawei Technologies Co., Ltd. All other trademarks and trade names mentioned in this document are the property of their respective holders. Notice The purchased products, services and features are stipulated by the contract made between Huawei and the customer. All or part of the products, services and features described in this document may not be within the purchase scope or the usage scope. Unless otherwise specified in the contract, all statements, information, and recommendations in this document are provided "AS IS" without warranties, guarantees or representations of any kind, either express or implied. The information in this document is subject to change without notice. Every effort has been made in the preparation of this document to ensure accuracy of the contents, but all statements, information, and recommendations in this document do not constitute a warranty of any kind, express or implied.

| Huawei Technologies Co., Ltd. |  |
| --- | --- |
| Address: | Huawei Industrial Base Bantian, Longgang Shenzhen 518129 People's Republic of China |
| Website: | http://e.huawei.com |

Preface

Purpose

This document describes how to install and uninstall the Huawei SCOM plug-in, add and delete eSight, view server information and status, view event lists, view alarm lists, and view server topologies.

Intended Audience

This document is intended for:

Technical support engineers

System maintenance engineers

Symbol Conventions

The symbols that may be found in this document are defined as follows.

| Symbol | Description |
| --- | --- |
|  | Indicates an imminently hazardous situation which, if not avoided, will result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, may result in minor or moderate injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in equipment damage, data loss, performance deterioration, or unanticipated results. NOTICE is used to address practices not related to personal injury. |
|  | Calls attention to important information, best practices and tips. NOTE is used to address information not related to personal injury, equipment damage, and environment deterioration. |

Change History

| Issue | Date | Description |
| --- | --- | --- |
| 02 | 2019-07-25 | Updated 1 Overview. Updated 2 Installing and Uninstalling the Huawei SCOM Plug-in. |
| 01 | 2018-02-09 | This issue is the first official release. |

Contents

Preface	ii

1 Overview	1

2 Installing and Uninstalling the Huawei SCOM Plug-in	2

2.1 Installing the Huawei SCOM Plug-in	2

2.2 Uninstalling the Huawei SCOM Plug-in	10

3 Configuring eSight	16

3.1 Adding eSight	16

3.2 Editing eSight	21

3.3 Deleting eSight	24

4 Viewing the Basic Information and Status of Servers	27

4.1 Viewing the Basic Information and Status of a Blade Server	27

4.2 Viewing the Basic Information and Status of a Rack Server	34

4.3 Viewing the Basic Information and Status of a High-Density Server	36

4.4 Viewing the Basic Information and Status of a KunLun Server	39

5 Viewing an Event List	43

6 Viewing an Alarm List	45

7 Viewing Server Topologies	47

7.1 Viewing a Huawei Server Topology	47

7.2 Viewing a Blade Server Topology	49

7.3 Viewing a Rack Server Topology	51

7.4 Viewing a High-Density Server Topology	53

7.5 Viewing a KunLun Server Topology	55

8 FAQs	58

8.1 Connection Test Failed When Adding an eSight	58

A Glossary	61

Overview

The Huawei SCOM plug-in is a plug-in integrated in the System Center Operations Manager (SCOM for short) software and used for Huawei server management. By adding eSight, it can monitor the health status and alarm information of Huawei servers.

You can implement the following functions by using the Huawei SCOM plug-in:

View the information of servers and components managed by eSight.

View the health status of servers and components managed by eSight.

View the alarm information and event information of servers managed by eSight.

View the topologies of servers managed by eSight.

Table 1-1 lists the servers supported by the Huawei SCOM plug-in.

Supported servers

| Type | Server |
| --- | --- |
| Rack server | RH2288H V3 |
|  | 1288H V5 |
|  | 2288H V5 |
|  | 2488 V5 |
|  | 2488H V5 |
| Blade server | E9000 (MM910) |
|  | CH121 V3 |
|  | CH242 V3 |
| High-density server | XH622 V3 |
| KunLun server | 9008L |
|  | 9016 |
|  | 9032L |

Installing and Uninstalling the Huawei SCOM Plug-in

2.1  Installing the Huawei SCOM Plug-in

2.2  Uninstalling the Huawei SCOM Plug-in

  - Installing the Huawei SCOM Plug-in

Prerequisites

SCOM 2012 R2 or SCOM 2016 has been installed on the SCOM server.

.Net Framework 4.0 or later has been installed on the SCOM server.

Procedure

            - Download the Huawei SCOM plug-in installation package of the latest version from the GitHub website, for example, Huawei_eSight_For_SCOM_Plugin_v1.1.200.zip.

Upload the Huawei SCOM plug-in installation package to the SCOM server.

Log in to the SCOM server.

Decompress the Huawei SCOM plug-in installation package.

Obtain the installation application, for example, Huawei_eSight_For_SCOM_Plugin_1.1.200.1221.exe.

Double-click Huawei_eSight_For_SCOM_Plugin_1.1.200.1221.exe.

In the Installer Language window, select a language for your installation, as shown in Figure 2-1.

Installer Language

Click OK.

The Welcome to Huawei eSight For SCOM plugin 1.1.200 Setup window is displayed, as shown in Figure 2-2.

Welcome to Huawei eSight For SCOM plugin 1.1.200 Setup

Click Next.

The Choose Install Location window is displayed, as shown in Figure 2-3.

Choose Install Location

Retain the default installation path or click Browse to change the installation path, and click Next.

The Select features to install window is displayed, as shown in Figure 2-4.

Select features to install

Select required functions and click Next.

The IP/Port Configuration window is displayed, as shown in Figure 2-5.

IP/Port Configuration

Enter the IP address and port number of the SCOM server that is used to connect to eSight. (The port number ranges from 44300 to 44399. You are advised to retain the default value 44301.) Click Install.

The Huawei SCOM plug-in installation starts, as shown in Figure 2-6.

Installing the Huawei SCOM plug-in

After the installation is complete, the Completing Huawei eSight For SCOM plugin 1.1.200 Setup window is displayed, as shown in Figure 2-7.

Completing Huawei eSight For SCOM plugin 1.1.200 Setup

Click Finish.

The Huawei SCOM plug-in installation is complete.

Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 2-8.

SCOM main window

Choose Administration > Management Packs.

The Management Packs window is displayed, as shown in Figure 2-9.

Management Packs

After the Huawei SCOM plug-in is successfully installed, the Manage Package (MP) packages in the red box are displayed in the Management Packs window.

After the MP packages are successfully installed, the nodes in the red box are displayed in the SCOM main window, as shown in Figure 2-10.

SCOM main window

----End

Uninstalling the Huawei SCOM Plug-in

You need to close the SCOM window before uninstalling the Huawei SCOM plug-in.

Uninstalling the Huawei SCOM Plug-in from the Control Panel

            - Choose Start > Control Panel > Programs > Programs and Features.

The Uninstall or change a program window is displayed, as shown in Figure 2-11.

Uninstall or change a program

Double-click the Huawei SCOM plug-in (for example, Huawei eSight For SCOM Plugin 1.1.200).

A confirmation dialog box is displayed, as shown in Figure 2-12.

Dialog box

Click Yes.

The dialog box asking you whether to uninstall IIS Express is displayed, as shown in Figure 2-13.

Dialog box

IIS Express is responsible for the communication between the plug-in and SCOM. After IIS Express is uninstalled, it will be reinstalled when the Huawei SCOM plug-in is installed.

If IIS Express needs to be uninstalled, click Yes.

If IIS Express does not need to be uninstalled, click No.

Click Yes or No.

The Huawei SCOM plug-in uninstallation starts, as shown in Figure 2-14.

Uninstalling the Huawei SCOM plug-in

After the uninstallation is complete, the dialog box shown in Figure 2-15 is displayed.

Uninstallation completed

Click OK.

The Huawei SCOM plug-in is uninstalled.

----End

Uninstalling the Huawei SCOM Plug-in from the Installation Directory

            - Go to the installation directory of the Huawei SCOM plug-in (C:\Program Files\Huawei eSight For SCOM plugin), as shown in Figure 2-16.

Installation directory of the Huawei SCOM plug-in

Double-click uninst.

A confirmation dialog box is displayed, as shown in Figure 2-17.

Dialog box

Click Yes.

The dialog box asking you whether to uninstall IIS Express is displayed, as shown in Figure 2-18.

Dialog box

IIS Express is responsible for the communication between the plug-in and SCOM. After IIS Express is uninstalled, it will be reinstalled when the Huawei SCOM plug-in is installed.

If IIS Express needs to be uninstalled, click Yes.

If IIS Express does not need to be uninstalled, click No.

Click Yes or No.

The Huawei SCOM plug-in uninstallation starts, as shown in Figure 2-19.

Uninstalling the Huawei SCOM plug-in

After the uninstallation is complete, the dialog box shown in Figure 2-20 is displayed.

Uninstallation completed

Click OK.

The Huawei SCOM plug-in is uninstalled.

----End

Configuring eSight

3.1  Adding eSight

3.2  Editing eSight

3.3  Deleting eSight

  - Adding eSight

KunLun servers have many components. When you add a KunLun server on eSight and set the discovery time to the maximum value 60 seconds, you can click the refresh button to increase the speed of obtaining component information, as shown in Figure 3-1. For details, see the eSight V300R010C00SPC200, 300, and 500 Product Documentation.

A maximum of 50 eSight instances can be added.

Accelerating the obtaining of KunLun server component information

            - Set a whitelist and obtain the third-party system ID of eSight.

By default, a whitelist of eSight northbound ports is configured. To add an eSight system properly, you must add the IP address of the server where SCOM is located to the whitelist of eSight northbound ports.

- Log in to the eSight WebUI.

- Choose System > Northbound Integration > Third-party System > Create.

The Third-party System page is displayed, as shown in Figure 3-2.

Third-party System

The default value of System ID of eSight is NMSinfo+Number of third-party systems.

- Set the following parameters:

IP address: Set this parameter to the IP address of the SCOM server.

Protocol type: Select HTTPS.

System ID: Retain the default value or enter a new value. The value can be an IP address or a string of 1 to 64 characters, including digits (0-9), lowercase letters (a-z), uppercase letters (A-Z), and special characters @_- (), .^$~`!.

- Click OK.

The IP address of the SCOM server is set as a whitelist, as shown in Figure 3-3.

Set successfully

In the third-party system list area on the right, the value of System ID in the row where the SCOM server IP address is located is the eSight third-party system ID.

Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 3-4.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > eSight Configuration Dashboard.

The eSight Configuration Dashboard window is displayed, as shown in Figure 3-5.

eSight Configuration Dashboard

Click Add eSight.

The Add eSight page is displayed, as shown in Figure 3-6.

Add eSight

Table 3-1 describes the parameters.

Parameter description

| Parameter | Parameter Description | Value | Mandatory |
| --- | --- | --- | --- |
| Host | eSight IP address | The value is in the XXX.XXX.XXX.XXX format. X is an integer. | Yes |
| Alias Name | Customized eSight name | The value is a string of 1 to 100 characters, including letters, digits, underscores (_), hyphens (-), and periods (.). | No |
| Port | eSight northbound port number | The default value is 32102. | Yes |
| SystemID | Third-party system ID | Value obtained in Step 1.3. | Yes |
| Account | eSight northbound port user name | The default value is openApiUser. | Yes |
| Password | eSight northbound port password | The default value is Changeme_123. | Yes |

Enter eSight information, and click Test to test whether the SCOM server can connect to eSight.

If the test is successful, "eSight authentication passes" is displayed, as shown in Figure 3-7. If the test fails, the failure cause is displayed. Modify eSight information as prompted.

Successful test

Click Save.

The eSight is added successfully, as shown in Figure 3-8.

eSight added successfully

----End

Editing eSight

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 3-9.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > eSight Configuration Dashboard.

The eSight Configuration Dashboard window is displayed, as shown in Figure 3-10.

eSight Configuration Dashboard

If the eSight information in the right pane is empty, no eSight has been connected.

Click Edit in the row where eSight is located in the right pane. Edit is in the Operations column.

The Edit eSight window is displayed, as shown in Figure 3-11.

Edit eSight

Edit eSight information according to Table 3-1.

The eSight IP address cannot be modified.

Change Credentials must be selected if the eSight northbound port user name and password are to be changed.

Click Save.

The eSight is successfully edited, as shown in Figure 3-12. On this page, you can check whether the modified information is consistent with the target.

Modified eSight information

----End

Deleting eSight

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 3-13.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > eSight Configuration Dashboard.

The eSight Configuration Dashboard window is displayed, as shown in Figure 3-14.

eSight Configuration Dashboard

If the eSight information in the right pane is empty, no eSight has been connected.

Click Delete in the row where eSight is located in the right pane. Delete is in the Operations column.

A confirmation dialog box is displayed, as shown in Figure 3-15.

Dialog box

Click Yes.

The eSight is successfully deleted, as shown in Figure 3-16. On this page, you can check whether the target eSight has been deleted.

eSight deleted successfully

----End

Viewing the Basic Information and Status of Servers

4.1  Viewing the Basic Information and Status of a Blade Server

4.2  Viewing the Basic Information and Status of a Rack Server

4.3  Viewing the Basic Information and Status of a High-Density Server

4.4  Viewing the Basic Information and Status of a KunLun Server

  - Viewing the Basic Information and Status of a Blade Server

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 4-1.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > State Views > Chassis State.

The Chassis State window is displayed, as shown in Figure 4-2. On this page, the managed chassis are displayed in different rows, and the status of the monitored components on each chassis is displayed in different columns.

Chassis State

In the Chassis State area, you can click any position in the row of a chassis to view details about the chassis in the Detail View area.

The component health status is described as follows:

: Healthy, absent, or unknown status

: Minor alarms

: Major or critical alarms

The overall health status depends on the server system status and is irrelevant to the component status.

Set the components and monitoring parameters to be displayed.

- Right-click the name or status of a component and choose Personalize View... from the shortcut menu.

The Personalize View window is displayed, as shown in Figure 4-3.

Personalize View

- Select the components to be monitored, and click OK.

The components to be monitored are modified successfully.

- Right-click the component status (for example, Healthy under Fans) and choose Open > State View from the shortcut menu or double-click the component status.

The State window of the component is displayed, as shown in Figure 4-4.

State

- Right-click a row in the State area and choose Personalize View... from the shortcut menu.

The Personalize View window is displayed, as shown in Figure 4-5.

Personalize View

- In the Columns to display list box, select the parameters to be displayed, and click OK.

The State window is displayed, as shown in Figure 4-6.

State

Table 4-1 lists the blade server components and parameters that can be monitored by the Huawei SCOM plug-in.

Blade server components and parameters that can be monitored

| Service Name | Component | Parameter |
| --- | --- | --- |
| Fan | Fan | UUID: UUID State: health status PresentState: presence status ControlModel: control type RotatePercent: rotation percentage fanSpeed: fan speed fanInfo: fan information fanVersion: fan version |
| PowerSupply | PSU | UUID: UUID State: health status PresentState: presence status PowerMode: PSU working mode RatingPower: rated power RuntimePower: real-time power |
| Switch | Switch module | UUID: UUID State: health status BladeVersion: blade version SwitchType: switch module model ProductName: product name BoardManufacturer: mainboard manufacturer BoardPartNumber: mainboard part number BoardSerialNumber: mainboard serial number BoardManufactureDate: mainboard manufacturing date ProductDescription: product description ProductManufacturer: product manufacturer ProductPartNumber: product part number ProductSerialNumber: product serial number |
| Child Blade | Blade | UUID: UUID State: health status PresentState: presence status BmcIP: BMC IP address BmcMask: BMC mark ProductName: product name BladeVersion: blade version BoardSerialNumber: mainboard serial number BoardManufactureDate: mainboard manufacturing date ProductDescription: product description ProductSerialNumber: product serial number SystemCPUUsage: system CPU usage |
| HMM | E9000 management module | UUID: UUID State: health status PresentState: presence status ProductName: product name AmbientTemp: ambient temperature InletTemp: air inlet temperature LSWTemp: switch module temperature OutletTemp: air outlet temperature SoftwareVersion: software version BoardSerialNumber: mainboard serial number ProductSerialNumber: product serial number smmOtherVersion: other firmware versions smmHostname: host name smmRedundancy: presence status of the active and standby management modules |
| CPU | Blade server CPU | State: health status UUID: UUID PresentState: CPU presence status CPUInfo: CPU information |
| Disk | Blade server hard disk | State: health status UUID: UUID PresentState: hard disk presence status DiskLocation: hard disk location DiskSerialNumber: hard disk serial number DiskINterfaceType: hard disk interface type DiskCapcity: hard disk capacity DiskManufacturer: hard disk manufacturer |
| Memory | Blade server memory | State: health status UUID: UUID PresentState: memory presence status Manufacturer: manufacturer Frequency: memory frequency Capacity: memory capacity |
| Mezz | Blade server mezzanine card | State: health status UUID: UUID PresentState: mezzanine card presence status MezzInfo: mezzanine card information MezzLocation: mezzanine card location MezzMac: mezzanine card MAC address |
| RaidController | Blade server RAID controller card | State: health status UUID: UUID Type: RAID controller card type DeviceInterface: RAID controller card hardware interface FwVersion: RAID controller card firmware version BBUPresence: BBU presence status BBUType: BBU type |

----End

Viewing the Basic Information and Status of a Rack Server

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 4-7.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > State Views > RackServer State.

The RackServer State window is displayed, as shown in Figure 4-8. This window displays the health status and basic information of managed servers.

RackServer State

In the RackServer State area, you can click any position in the row of a server to view details about the server in the Detail View area.

The component health status is described as follows:

: Healthy, absent, or unknown status

: Minor alarms

: Major or critical alarms

The overall health status depends on the server system status and is irrelevant to the component status.

Set the monitoring parameters to be displayed. For details, see Step 3 in 4.1 Viewing the Basic Information and Status of a Blade Server.

Table 4-2 lists the rack server parameters that can be monitored by the Huawei SCOM plug-in.

Rack server parameters that can be monitored

| Parameter | Description | Example Value |
| --- | --- | --- |
| iBMCIPv4Address | BMC IP address | 10.10.10.7 |
| ServerName | Server name | 2488H V5-10.10.10.7 |
| Type | Server model | 2488H V5 |
| UUID | UUID | E1C5D866-0018-AC11-B211-D21D60243331 |
| Status | Health status | OK |
| AveragePower | Average power | 282 |
| PeakPower | Peak power | 626 |
| PowerConsumption | Power consumption | 1156 |
| DNSServerIP | DNS IP address | 10.10.10.8 |
| DNSName | DNS name | com |
| ProductSn | Product SN | 42353423 |
| HostName | Host name | qwrqw |
| CPUNums | Number of CPUs | 4 |
| CPUCores | Number of CPU cores | 48 |
| CPUModel | CPU model | Intel(R) Xeon(R) Gold 5118 CPU @ 2.30GHz |
| MemoryCapacity | Memory capacity | 131072MB |
| BMCVersion | BMC version | 3.17 |
| AssertTag | Asset label | test |

----End

Viewing the Basic Information and Status of a High-Density Server

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 4-9.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > State Views > HighdensityServer State.

The HighdensityServer State window is displayed, as shown in Figure 4-10. On this page, the managed servers are displayed in different rows, and the status of the monitored components on each server is displayed in different columns.

HighdensityServer State

In the HighdensityServer State area, you can click any position in the row of a server to view details about the server in the Detail View area.

The component health status is described as follows:

: Healthy, absent, or unknown status

: Minor alarms

: Major or critical alarms

The overall health status depends on the server system status and is irrelevant to the component status.

Set the components and monitoring parameters to be displayed. For details, see step Step 3 in 4.1 Viewing the Basic Information and Status of a Blade Server.

Table 4-3 lists the high-density server components and parameters that can be monitored by the Huawei SCOM plug-in.

High-density server components and parameters that can be monitored

| Service Name | Component | Parameter |
| --- | --- | --- |
| Fan | Fan | UUID: UUID State: health status PresentState: presence status RotatePercent: rotation percentage Speed(RPM): fan speed |
| PowerSupply | PSU | UUID: UUID State: health status PresentState: presence status Manufacturer: manufacturer InputMode: input mode Model: type PowerRating: rated power InputPower: input power |
| Child Board | Server node | UUID: UUID State: health status IpAddress: IP address ProductSn: product SN Type: type |
| CPU | Server node CPU | State: health status UUID: UUID PresentState: CPU presence status Manufacturer: manufacturer Type: type Frequency: frequency (MHz) CoreCount: number of cores |
| Disk | Server node hard disk | State: health status UUID: UUID PresentState: hard disk presence status Locator: hard disk location Diskcapacity(GB): hard disk capacity IndterfaceType: hard disk interface type |
| Memory | Server node memory | State: health status UUID: UUID PresentState: memory presence status Manufacturer: manufacturer Frequency: memory frequency Size: memory capacity |
| RaidController | Server node RAID controller card | State: health status UUID: UUID Type: RAID controller card type DeviceInterface: RAID controller card hardware interface FirmwareVersion: RAID controller card firmware version DirverVersion: RAID controller card driver version BBUType: BBU type |

----End

Viewing the Basic Information and Status of a KunLun Server

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 4-11.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > State Views > KunlunServer State.

The KunlunServer State window is displayed, as shown in Figure 4-12. On this page, the managed servers are displayed in different rows, and the status of the monitored components on each server is displayed in different columns.

KunlunServer State

In the KunlunServer State area, you can click any position in the row of a server to view details about the server in the Detail View area.

The component health status is described as follows:

: Healthy, absent, or unknown status

: Minor alarms

: Major or critical alarms

The overall health status depends on the server system status and is irrelevant to the component status.

Set the components and monitoring parameters to be displayed. For details, see step Step 3 in 4.1 Viewing the Basic Information and Status of a Blade Server.

Table 4-4 lists the KunLun server components and parameters that can be monitored by the Huawei SCOM plug-in.

KunLun server components and parameters that can be monitored

| Service Name | Component | Parameter |
| --- | --- | --- |
| Fan | Fan | UUID: UUID State: health status PresentState: presence status RotatePercent: rotation percentage Speed(RPM): fan speed |
| PowerSupply | PSU | UUID: UUID State: health status PresentState: presence status Manufacturer: manufacturer InputMode: input mode Model: type PowerRating: rated power InputPower: input power |
| PhysicalDisk | Hard disk | State: health status UUID: UUID PresentState: hard disk presence status Locator: hard disk location Diskcapacity(GB): hard disk capacity IndterfaceType: hard disk interface type |
| RaidController | RAID controller card | State: health status UUID: UUID Type: RAID controller card type DeviceInterface: RAID controller card hardware interface FirmwareVersion: RAID controller card firmware version DirverVersion: RAID controller card driver version BBUType: BBU type |

----End

Viewing an Event List

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 5-1.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Events Views > HuaweiServer EventView.

In the HuaweiServer EventView window that is displayed, click an event to view its details, as shown in Figure 5-2.

HuaweiServer EventView

Table 5-1 describes the parameters.

Parameter description

| Parameter | Description |
| --- | --- |
| Level | Event type. The options are as follows: Information: system running event Warning: minor alarm Error: major or critical alarm |
| Date and Time | Date and time when an event is generated |
| Source | Sensor that generates an event |
| Name | Device where an event is generated |
| User | Current user |
| Event Number | Event number. The value ranges from 0 to 65535. |
| Log Name | Event name |
| Logging Computer | Current login device |
| Rule Name | Rule name |

----End

Viewing an Alarm List

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 6-1.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Alerts Views > HuaweiServer AlertView.

In the HuaweiServer AlertView window that is displayed, click an alarm to view its details, as shown in Figure 6-2.

HuaweiServer AlertView

Table 6-1 describes the parameters.

Parameter description

| Parameter | Description |
| --- | --- |
| lcon | Alarm type. The options are as follows: Warning: minor alarm Error: major or critical alarm |
| Path | Sensor that generates an alarm |
| Source | Device where an alarm is generated |
| Name | Alarm name |
| Resolution State | Handling status |
| Created | Time when an alarm is generated |
| Age | Duration of an alarm |

----End

Viewing Server Topologies

7.1  Viewing a Huawei Server Topology

7.2  Viewing a Blade Server Topology

7.3  Viewing a Rack Server Topology

7.4  Viewing a High-Density Server Topology

7.5  Viewing a KunLun Server Topology

  - Viewing a Huawei Server Topology

Huawei server topologies include the topologies of blade servers, rack servers, high-density servers, and KunLun servers. The following sections describe different types of server topologies.

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 7-1.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Diagram Views > HuaweiServerGroup DiagramView.

The HuaweiServerGroup DiagramView window is displayed, as shown in Figure 7-2.

HuaweiServerGroup DiagramView

If the topology is not refreshed in time, you can perform the following steps to refresh it:

            - Open the CLI of the SCOM server.

            - Access the SCOM installation path (C:\Program Files\System Center Operations Manager 2012\Console) on the CLI.

            - Run the following command to refresh the SCOM window:

Microsoft.EnterpriseManagement.Monitoring.Console.exe" /clearcache

In the HuaweiServerGroup DiagramView area, click  on any server icon to expand the topology of the server type, as shown in Figure 7-3.

Topology

----End

Viewing a Blade Server Topology

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 7-4.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Diagram Views > Chassis DiagramView.

The Chassis DiagramView window is displayed, as shown in Figure 7-5.

Chassis DiagramView

If the topology is not refreshed in time, you can perform the following steps to refresh it:

            - Open the CLI of the SCOM server.

            - Access the SCOM installation path (C:\Program Files\System Center Operations Manager 2012\Console) on the CLI.

            - Run the following command to refresh the SCOM window:

Microsoft.EnterpriseManagement.Monitoring.Console.exe" /clearcache

In the Chassis DiagramView area, click  on any server icon to expand the topology of the server type, as shown in Figure 7-6.

Topology

----End

Viewing a Rack Server Topology

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 7-7.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Diagram Views > RackServer DiagramView.

The RackServer DiagramView window is displayed, as shown in Figure 7-8.

RackServer DiagramView

If the topology is not refreshed in time, you can perform the following steps to refresh it:

            - Open the CLI of the SCOM server.

            - Access the SCOM installation path (C:\Program Files\System Center Operations Manager 2012\Console) on the CLI.

            - Run the following command to refresh the SCOM window:

Microsoft.EnterpriseManagement.Monitoring.Console.exe" /clearcache

In the RackServer DiagramView area, click  on any server icon to expand the topology of the server type, as shown in Figure 7-9.

Topology

----End

Viewing a High-Density Server Topology

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 7-10.

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Diagram Views > HighDensityServer DiagramView.

The HighDensityServer DiagramView window is displayed, as shown in Figure 7-11.

HighDensityServer DiagramView

If the topology is not refreshed in time, you can perform the following steps to refresh it:

            - Open the CLI of the SCOM server.

            - Access the SCOM installation path (C:\Program Files\System Center Operations Manager 2012\Console) on the CLI.

            - Run the following command to refresh the SCOM window:

Microsoft.EnterpriseManagement.Monitoring.Console.exe" /clearcache

In the HighDensityServer DiagramView area, click  on any server icon to expand the topology of the server type, as shown in Figure 7-12.

Topology

----End

Viewing a KunLun Server Topology

            - Choose Start >  > Operations Console.

The SCOM main window is displayed, as shown in Figure 7-13

SCOM main window

Choose Monitoring > Huawei Plugin for eSight > Diagram Views > KunlunServer DiagramView.

The KunlunServer DiagramView window is displayed, as shown in Figure 7-14.

KunlunServer DiagramView

If the topology is not refreshed in time, you can perform the following steps to refresh it:

            - Open the CLI of the SCOM server.

            - Access the SCOM installation path (C:\Program Files\System Center Operations Manager 2012\Console) on the CLI.

            - Run the following command to refresh the SCOM window:

Microsoft.EnterpriseManagement.Monitoring.Console.exe" /clearcache

In the KunlunServer DiagramView area, click  on any server icon to expand the topology of the server type, as shown in Figure 7-15.

Topology

----End

FAQs

8.1  Connection Test Failed When Adding an eSight

  - Connection Test Failed When Adding an eSight

Symptom

After an eSight server is added, a failure message is displayed during the connection test.

Cause

The user name or password is incorrect.

The eSight northbound interface user is locked.

A whitelist has not been set.

Solution

The user name or password is incorrect.

Enter the user name and password of the eSight northbound interface user. To view the user name and password, perform the following steps:

  - Log in to the eSight WebUI.

  - Choose System > User Management > User. The User page is displayed.

The role of the eSight northbound interface user is Open API user group, and the user name is displayed under User Name.

Viewing information about the eSight northbound interface user

  - Click  to display the dialog box for resetting the user password.

Reset Password

  - Enter a password in New password and Confirm password.

  - Click OK. The password is reset.

The eSight northbound interface user is locked.

To unlock a user, perform the following steps:

  - Log in to the eSight WebUI.

  - Choose System > User Management > User.

The User page is displayed.

  - Click  to set Status of the eSight northbound interface user to Enabled.

Unlocking a user

A whitelist has not been set.

By default, a whitelist of eSight northbound ports is configured. To add an eSight system properly, you must add the IP address of the server where SCOM is located to the whitelist of eSight northbound ports.

  - Log in to the eSight WebUI.

  - Choose System > Northbound Integration > Third-party System > Create.

The Third-party System page is displayed, as shown in Figure 8-4.

Third-party System

The default value of System ID of eSight is NMSinfo+Number of third-party systems.

  - Set the following parameters:

IP address: Set this parameter to the IP address of the SCOM server.

Protocol type: Select HTTPS.

System ID: Retain the default value or enter a new value. The value can be an IP address or a string of 1 to 64 characters, including digits (0-9), lowercase letters (a-z), uppercase letters (A-Z), and special characters @_- (), .^$~`!.

  - Click OK.

The IP address of the SCOM server is set as a whitelist, as shown in Figure 8-5.

Set successfully

In the third-party system list area on the right, the value of System ID in the row where the SCOM server IP address is located is the eSight third-party system ID.

Glossary

E

| eSight | eSight is a platform related to Huawei server management. |
| --- | --- |

N

| NetFramework | Microsoft .NET Framework is a new hosting code programming model used for Windows. It combines powerful functions with new technologies to construct applications with excellent user experience, implement seamless communications across technical boundaries, and support various service processes. |
| --- | --- |

S

| SCOM | System Center Operation Manager (SCOM) refers to the Microsoft system center operation manager. SCOM monitors servers, application systems, and clients in the network. It provides a GUI for administrators to monitor faults and alarms of target computers. |
| --- | --- |